## Slide 1: High Speed Turbojet Instrumentation
Chantel Flores
William Rektorik
Orlando Rodriguez
Faculty Advisors
Dr. Isaac Choutapalli
Faculty Co-Advisor
Dr. Robert Jones

## Slide 2: Outline
Problem
Proposed Solution
Impact
Market Research
Needs Wants and Constraints
Goals and Objective
QFD
Functional Decomposition
Final Design
Analysis
Design for X
FMEA
Engineering Economics
Summary

## Slide 3: Problem
Instrument a department owned turbojet engine
JetCat RX Turbine

## Slide 4: What Is a Turbojet Engine
Five main Components
Intake
Compressor
Combustion Chamber
Turbine
Nozzle
JetCat RX Turbine Cut Away

## Slide 5: Proposed Solution
Design and build an instrumented test stand
Come within a 2% margin of error (sensor readings) at an affordable cost for apparatus instrumentation.

## Slide 6: Impact
Competitive option for small jet engine manufactures
Research at UTRGV
Scholastic program

## Slide 7: Market Shares
Chart: 
| P.A. Hilton | Turbine Technologies | GDJ Inc.
Market Share | 7000000 | 3000000 | 250000
Total Market Size $10,250,000

## Slide 8
Company | Website | Address | Price | Information
P.A. Hilton | http://www.p-a-hilton.co.uk/teaching-equipment-for-sale.php?buy=327&addid=327 | P. A. Hilton Ltd Horsebridge Mill Kings Somborne Stockbridge Hampshire UK SO20 6PX | P372_V3- $ 72,500 | Offers test stands with integrated pulse and ramjets. These test stands are specifically aimed for education purposes and come with multiple sensors already installed.
Turbine Technologies | http://www.turbinetechnologies.com/ | Turbine Technologies, Ltd. 410 Phillips Court P.O. Box 105 Chetek, WI 54728 USA | MiniLab – $60,495.00 TurboGen - $121,095.00 | Includes National Instruments Data Acquisition system LabView. Provides custom virtual instrument panel with SR30 gas turbine engine.
GDJ Inc. | http://www.gdjinc.com/engine/engineintro.html | 7585 Tyler Boulevard Mentor, Ohio 44060 | PT-400 Base Price: $68,500.00 | This manufacturer makes fully integrated test stands for reciprocating and gas turbine engines. These stands already come with the engine integrally installed

## Slide 9: Needs Wants and Constraints
Needs | Wants | Constraints
Accurate | Affordability | Cost
Damping of Vibration | Modularity | Safety
Durable | Aesthetically Appealing | Precision
User Friendly |  | Measurement Parameters

## Slide 10: Goal: Develop an instrumented gas turbine test stand that will allow students to understand the limits and capabilities of a turbojet engine. Objective: Provide a precision test stand at low cost for scholastic and research usage.

## Slide 11
-
-
-
-
-
-
-
Technical Evaluation |  |  |  |  |  |  | 
Our Company | 800 | YES | 100 psi | 8.33 | 50 | YES | YES
P.A. Hilton | 700 | NO | 40 psi | 11.94 | 3.9 | NO | YES
Turbine Technologies | 720 | NO | N/A | 48 | 40 | YES | YES
GDJ Inc. | 800 | NO | N/A | N/A | 50 | YES | YES
Quality Function Deployment

## Slide 12
-
-
-
-
-
-
Needs
Wants
Needs and Wants
-

## Slide 13
Comparative Company Evaluation

## Slide 14
Technical Evaluation |  |  |  |  |  |  | 
Our Company | 800 | 30,000 | 100 psi | 8.33 | 50 | YES | YES
P.A. Hilton | 700 | 72,500 | 40 psi | 11.9 | 3.9 | NO | YES
Turbine Technologies | 720 | 60,495 | N/A | 48 | 40 | YES | YES
GDJ Inc. | 800 | 68,500 | N/A | N/A | 50 | YES | YES
Technical
Evaluation

## Slide 15
Engineering
Specifications

## Slide 16: DESIGN EMBODIMENT

## Slide 17: Concept Selection
Functional Decomposition
Engine Mount
Instrumentation
Structure
Methodology
  Literature Search
  Competitive Products
  Brain Storming

## Slide 18: Concept Selection for Engine Mount
        Concept Variants
          Rail
          Linkage
          Force Plate
Design Constraints
  Cost
  Accuracy
  Reliability
  Damping

## Slide 19
Sub-Function 1 -Engine Mount/Thrust Measurement |  |  |  |  |  | 
 | Cost | Accuracy | Reliability | Damping | Row Sum | Norm Score
Cost | x | 1 | 2 | 3 | 6 | 0.167
Accuracy | 5 | x | 3 | 4 | 12 | 0.333
Reliability | 4 | 3 | x | 4 | 11 | 0.306
Damping | 3 | 2 | 2 | x | 7 | 0.194
Col. Score | 12 | 6 | 7 | 11 | 36 | 1
Design Constraints
12/36 =

## Slide 20
Cost |  |  |  |  | 
 | Rail | Linkage | Force plate | Row Sum | Norm Score
Rail | x | 3 | 5 | 8 | 0.444
Linkage | 3 | x | 5 | 8 | 0.444
Force plate | 1 | 1 | x | 2 | 0.111
Col. Score | 4 | 4 | 10 | 18 | 1
Accuracy |  |  |  |  | 
 | Rail | Linkage | Force plate | Row Sum | Norm Score
Rail | x | 4 | 3 | 7 | 0.389
Linkage | 2 | x | 2 | 4 | 0.222
Force plate | 3 | 4 | x | 7 | 0.389
Col. Score | 5 | 8 | 5 | 18 | 1
Concept Variants
Reliability |  |  |  |  | 
 | Rail | Linkage | Force plate | Row Sum | Norm Score
Rail | x | 4 | 2 | 6 | 0.333
Linkage | 2 | x | 2 | 4 | 0.222
Force plate | 4 | 4 | x | 8 | 0.444
Col. Score | 6 | 8 | 4 | 18 | 1
Damping |  |  |  |  | 
 | Rail | Linkage | Force plate | Row Sum | Norm Score
Rail | x | 4 | 4 | 8 | 0.444
Linkage | 2 | x | 3 | 5 | 0.278
Force plate | 2 | 3 | x | 5 | 0.278
Col. Score | 4 | 7 | 7 | 18 | 1

## Slide 21: Concept Comparison
Advantage | Disadvantage
Vibration Isolation | Alignment Issues
Low Cost | 
Compact | 
Advantage | Disadvantage
Simple to Manufacture | Alignment Issues Vibration
Low Cost | 
Advantage | Disadvantage
Static Mounting | Safety Hazard High Cost
Reliable | 
24in
18in
24in
48in
13in
10in
Rail System
Linkage System
Force Plate System

## Slide 22: Chosen Thrust Measurement – Rail System
24in
18in
13in
10in
24in
4.5in

## Slide 23
Functional Decomposition
Engine Mount
Instrumentation
Structure

## Slide 24
Final Design
Engine and Engine Mount
Pitot Traversing Mechanism
60 in
60 in
24 in

## Slide 25: Engine Mount
24in
18in
13in
10in

## Slide 26
Sorbothane
Rail System
Engine Mount
Load Cell
Isolated Plate
Force Transfer Rods
Mounting Plate

## Slide 27: Pitot Traversing Mechanism
26in
24in

## Slide 28
Pitot Tube Mount
Threaded Rod
Rack and Pinon
Guide Rail
Linear Bearing
Threaded Bearing
Linear Bearing
Guide Rail
Rack and Pinon Crank
Threaded Rod Crank

## Slide 29: Engineering Analysis
Vibration
Deflection
Total System Precision
Static

## Slide 30: Deformation of Frame
Load = 40lbs
Element : Beams
Boundary Condition : Fixed Feet
Nodes : 612
Material : Steel
Max Displacement = 0.005 [in]
SolidWorks – Static Analysis
40lbs

## Slide 31: Peak Stress of Frame
Load = 40lbs
Element : Beams
Boundary Condition : Fixed Feet
Nodes : 612
Material : Steel
Peak Stress =
Load = 40lbs
Element : Beams
Boundary Condition : Fixed Feet
Nodes : 4484
Material : Steel
Peak Stress =

## Slide 32: Deflection of Pitot Traversing Rod
P
E

## Slide 33: Deflection of Pitot Tube
= 0.06 [in]
P = 6.37 lbs
E

## Slide 34: Force Required to Slide Stand
μN
F
N
W

## Slide 35: Fatigue Analysis
F = 10 [lbs]
Endurance Limit :
: Ultimate Tensile Strength
: Load Factor
: Gradient Factor
: Surface Factor
: Temperature Factor
: Bending Stress
F.S. = Factor of Safety
Notes: 1020 cold drawn steel, 90% reliability

## Slide 36: Mode Shape Analysis
Turbojet operating range : 533-2083 [Hz]
Identify structural resonance frequencies
Finite Element Method to be used to find mode shapes
Convergence of solution must be shown

## Slide 37
Wire Diagram for All Sensors of Engine

## Slide 38
Zero-Order Uncertainty Analysis
Interpolation error
Instrument errors
Design-stage uncertainty
=

## Slide 39
OMEGA PX35D0 General Purpose
Pressure Transducer
Specifications
Excitation: 10 Vdc (15 V max)
Output: 3mV/V
Accuracy: 0.25% linearity, hysteresis and repeatability combined
Zero-order Uncertainty Analysis for the Pressure Transducer
1: Pressure Transducer
a: Resolution: = Interpolation Error=
DAQ Resolution:
12-bit DAQ
= ==0.0024V
0.0024 Psi/30=0.01%
=0.01%
b: Elemental Errors
e1= linearity, hysteresis, repeatability=0.25%
e2= zero balance=2.0%
Net Elemental Instrument Error = = =
c: Zero-Order Uncertainty (Design-stage Uncertainty)
===2.05>2%
x 10V = 30mV
0-30 psi : pressure range
0-30 mV
30 psi – 30 mV

## Slide 40: Design For Safety
Two Emergency Stops
Plexi-glass partially enclosed housing
Safety manual
Design For Manufacturability
Consistent material thickness
Integer dimensions
Easy to find materials

## Slide 41: Failure Modes & Effects Analysis (FMEA)

## Slide 42: Rankings of Failure Modes
Part Details | Failure Mode | Severity | Frequency | Detectability | Risk Priority Number
Fuel System | Fuel Fire | 10 | 2 | 9 | 180
Turbojet | Turbine Malfunction (R.U.D)* | 10 | 2 | 10 | 200
Electrical System | Electrical Shorting | 9 | 2 | 9 | 162
Engine Mount | Mounts Failing | 9 | 2 | 8 | 144
Software | Software Malfunction | 5 | 3 | 6 | 90
Instrumentation | Calibration | 2 | 6 | 6 | 72
* Rapid Unexpected Disassembly

## Slide 43: Rankings of Failure Modes Action 1
Part Details | Failure Mode | Severity | Frequency | Detectability | Risk Priority Number | Proposed Action | Reduction in RPN
Fuel System | Fuel Fire | 10 | 1 | 9 | 90 | Regular Inspections | 90
Turbojet | Turbine Malfunction (R.U.D) | 10 | 1 | 10 | 100 | Regular Maintenance | 100
Electrical System | Electrical Shorting | 9 | 1 | 9 | 81 | Regular Inspections | 81
Engine Mount | Mounts Failing | 9 | 1 | 8 | 72 |  | 72
Software | Software Malfunction | 5 | 1 | 8 | 40 | Performance Test | 50
Instrumentation | Calibration | 2 | 3 | 6 | 60 | Annual Calibration | 12

## Slide 44: Economic Analysis
Bill of Materials
Prototype Cost
Production Cost
Retail Price

## Slide 45: Bill of Materials
Material | Quantity | Provider | Cost $
Load Cell | 3 | Omega | 963
Pressure Transducer | 2 | Omega | 734
1in X 1in X 24ft 14 gage Square Steel Tubing | 4 | Alamo Iron Works | 130
Sorbothane | 1 | McMaster | 15.28
Pitot Probe | 1 | Zoro | 61.60
Set of Four Wheels | 1 | Rockler | 59.99

## Slide 46: Production Cost
 | Unit | Year (100 units)
Labor Cost : 4 Production Employees 1 Engineer 1 Manager | $4,930 | $500,000
Material Cost | $2,500 | $520,000
Production Cost | $7,500 (Rounded) | 
Distributor Price (100% Profit) | $15,000 | $1,560,000
Retail Cost (100% Profit) | $30,000 | 
*Competitive Retail Cost : $68,500 – 121,000

## Slide 47: Summary
Market Analysis
Design Selection
Engineering Analysis
Economic Analysis

## Slide 48: References
By Continuing to Browse the Site You Are Agreeing to Our Use of Cookies. Find out More Here. "PA Hilton Engineering Teaching Equipment. Technical Training Equipment. Vocational Equipment." PA Hilton Engineering Teaching Equipment. Technical Training Equipment. Vocational Equipment. N.p., n.d. Web. 22 Sept. 2016. <http://www.p-a-hilton.co.uk/>.
"Emprise Corporation." ZoomInfo. N.p., n.d. Web. 29 Sept. 2016. <http://www.zoominfo.com/c/Emprise-Corporation/17303129>.
"GDJ Inc." ZoomInfo. N.p., n.d. Web. 22 Sept. 2016. <http://www.zoominfo.com/c/GDJ-Inc/15712337>.
Group, JPS Design. "Welcome." GDJ, Inc. N.p., n.d. Web. 22 Sept. 2016. <http://www.gdjinc.com/>.
"Integrated Flow Systems Llc." ZoomInfo. N.p., n.d. Web. 29 Sept. 2016. <http://www.zoominfo.com/c/Integrated-Flow-Systems-Llc/343510787>.
N.p., n.d. Web. <http://www.p-a-hilton.co.uk/teaching-equipment-for-sale.php?buy=327&addid=327>.
"P A Hilton." ZoomInfo. N.p., n.d. Web. 22 Sept. 2016. <http://www.zoominfo.com/c/P-A-Hilton/348843272>.
P.A. Hilton. N.d. Jet Propulsion Test Stand P372 Specs. England, Hampsire Stockridge.
Turbine Technologies. 2014. Turbo gen. Chetek, Wisconsin.
Turbine Technologies- Creating Educational Lab Equipment For Tomorrow's Engineers. "Controls Lab ." Turbine Technologies. N.p., n.d. Web. 22 Sept. 2016. <http://www.turbinetechnologies.com/>.
Turbine Technologies Inc. 2014. MiniLab Specs. Chetek, Wisconsin.
"Turbine Technologies Inc." ZoomInfo. N.p., n.d. Web. 22 Sept. 2016. <http://www.zoominfo.com/c/Turbine-Technologies-Inc/348276565>

## Slide 49: Thank You
Dr. Sarkar
Dr. Choutapalli
Dr. Jones
Dr. Fuentes
Dr. Tarawneh
Dr. Lee
Dr. Crown
Dr. Park
Mr. Potter
We would like to thank the following faculty…

## Slide 52: Force Required to Tip
W
F
A
12 in
60 in

## Slide 55: Bill of Materials

## Slide 56: Vibrational Analysis
Where
F

## Slide 57: Rankings of Failure Modes Action 2
Part Details | Failure Mode | Severity | Frequency | Detectability | Risk Priority Number | Proposed Action | Reduction in RPN
Frame | Rigidity | 7 | 1 | 3 | 21 | Brace | 3
Turbine | Efficiency | 5 | 2 | 9 | 90 | Maintenance | 18
Transducer | Calibration | 9 | 3 | 2 | 54 | Replace | 0
Thermocouples | Calibration | 6 | 3 | 2 | 36 | Replace | 0
Mass Flow Sensor | Calibration | 8 | 3 | 2 | 48 | Replace | 0
Load Cell | Calibration | 9 | 3 | 2 | 54 | Replace | 0
Pitot Tube | Deflection | 8 | 1 | 1 | 8 | Replace | 4
Software | Computer Failure | 4 | 9 | 4 | 144 | Performance Testing | 36
Wheel Rack | Support Failure | 6 | 1 | 1 | 6 | Brace | 1

## Slide 58
Sub–Function 2 - Instrumentation |  |  |  |  | 
 | Cost | Accuracy | Reliability | Row Sum | Nom Score
Cost | x | 1 | 1 | 2 | 0.111
Accuracy | 5 | x | 3 | 8 | 0.444
Reliability | 5 | 3 | x | 8 | 0.444
Col. Score | 9 | 4 | 5 | 18 | 1

## Slide 59
Cost |  |  |  |  |  | 
 | Pressure Transducer | Thermocouples | Fuel Flow Meter | Load Cell | Row Sum | Nom Score
Pressure Transducers | x | 5 | 4 | 3 | 12 | 0.333
Thermocouples | 1 | x | 1 | 1 | 3 | 0.083
Fuel Flow Meter | 2 | 5 | x | 2 | 9 | 0.250
Load Cell | 3 | 5 | 4 | x | 12 | 0.333
Col. Score | 6 | 15 | 9 | 6 | 36 | 1
Accuracy |  |  |  |  |  | 
 | Pressure Transducer | Thermocouples | Fuel Flow Meter | Load Cell | Row Sum | Nom Score
Pressure Transducers | x | 5 | 4 | 3 | 12 | 0.333
Thermocouples | 1 | x | 1 | 1 | 3 | 0.0833
Fuel Flow Meter | 2 | 5 | x | 2 | 9 | 0.25
Load Cell | 3 | 5 | 4 | x | 12 | 0.333
Col. Score | 6 | 15 | 9 | 6 | 36 | 1
Reliability |  |  |  |  |  | 
 | Pressure Transducer | Thermocouples | Fuel Flow Meter | Load Cell | Row Sum | Nom Score
Pressure Transducer | x | 5 | 4 | 3 | 12 | 0.333
Thermocouples | 1 | x | 1 | 1 | 3 | 0.083
Fuel Flow Meter | 2 | 5 | x | 2 | 9 | 0.250
Load Cell | 3 | 5 | 4 | x | 12 | 0.333
Col. Score | 6 | 15 | 9 | 6 | 36 | 1
Concept Variants

## Slide 60
Sub-Function 2 -Selection
Instrumentation |  |  |  | 
 | Cost | Accuracy | Reliability | Score
Pressure Transducer | 0.0369 | 0.148 | 0.148 | 0.3329
Thermocouple | 0.00921 | 0.0369 | 0.0369 | 0.08301
Fuel Flow | 0.0278 | 0.111 | 0.111 | 0.2498
Load Cell | 0.0369 | 0.148 | 0.148 | 0.3329
Decision |  |  |  | P.T. and L.C

## Slide 61
Sub-Function 3 - Structure |  |  |  |  |  | 
 | Cost | Aesthetics | Safety | Mobility | Row Sum | Nom Score
Cost | x | 3 | 1 | 4 | 8 | 0.222
Aesthetics | 3 | x | 1 | 2 | 6 | 0.167
Safety | 5 | 5 | x | 5 | 15 | 0.417
Mobility | 2 | 4 | 1 | x | 7 | 0.194
Col. Score | 10 | 12 | 3 | 11 | 36 | 1

## Slide 62
Cost |  |  |  |  | 
 | Unenclosed | Partially Enclosed | Full Environment Enclosure | Row Sum | Nom Score
Unenclosed | x | 4 | 5 | 9 | 0.5
Partially Enclosed | 2 | x | 5 | 7 | 0.388
Full Enviornment Enclosure | 1 | 1 | x | 2 | 0.111
Col. Score | 3 | 5 | 10 | 18 | 1
Aesthetics |  |  |  |  | 
 | Unenclosed | Partially Enclosed | Full Environment Enclosure | Row Sum | Nom Score
Unenclosed | x | 2 | 3 | 5 | 0.277
Partially Enclosed | 4 | x | 4 | 8 | 0.444
Full Enviornment Enclosure | 3 | 2 | x | 5 | 0.277
Col. Score | 7 | 4 | 7 | 18 | 1
Concept Variants

## Slide 63
Safety |  |  |  |  | 
 | Unenclosed | Partially Enclosed | Full Environment Enclosure | Row Sum | Nom Score
Unenclosed | x | 1 | 1 | 2 | 0.111
Partially Enclosed | 5 | x | 2 | 7 | 0.389
Full Enviornment Enclosure | 5 | 4 | x | 9 | 0.5
Col. Score | 10 | 5 | 3 | 18 | 1
Mobility |  |  |  |  | 
 | Unenclosed | Partially Enclosed | Full Enviornment Enclosure | Row Sum | Nom Score
Unenclosed | x | 3 | 5 | 8 | 0.444
Partially Enclosed | 3 | x | 5 | 8 | 0.444
Full Enviornment Enclosure | 1 | 1 | x | 2 | 0.111
Col. Score | 4 | 4 | 10 | 18 | 1
Continued

## Slide 64
Sub-Function 3 -Selection
Structure |  |  |  |  | 
 | Cost | Aesthetics | Safety | Mobility | Score
Unenclosed | 0.111 | 0.0464 | 0.0759 | 0.0861 | 0.3194
Partial Enclosure | 0.0864 | 0.0741 | 0.265 | 0.0861 | 0.5116
Full Environment Enclosure | 0.0246 | 0.0464 | 0.0759 | 0.0215 | 0.1684
Decision |  |  |  |  | Partial Enclosure

## Slide 65
Sub-Function 2 -Selection
Instrumentation |  |  |  | 
 | Cost | Accuracy | Reliability | Score
Pressure Transducer | 0.0369 | 0.148 | 0.148 | 0.3329
Thermocouple | 0.00921 | 0.0369 | 0.0369 | 0.08301
Fuel Flow | 0.0278 | 0.111 | 0.111 | 0.2498
Load Cell | 0.0369 | 0.148 | 0.148 | 0.3329
Decision |  |  |  | P.T. and L.C

## Slide 66
Sub-Function 3 -Selection
Structure |  |  |  |  | 
 | Cost | Aesthetics | Safety | Mobility | Score
Unenclosed | 0.111 | 0.0464 | 0.0759 | 0.0861 | 0.3194
Partial Enclosure | 0.0864 | 0.0741 | 0.265 | 0.0861 | 0.5116
Full Environment Enclosure | 0.0246 | 0.0464 | 0.0759 | 0.0215 | 0.1684
Decision |  |  |  |  | Partial Enclosure

## Slide 67
Thrust Measurement – Force Plate
Proposed Solutions

## Slide 68
Engine Mount/Thrust |  |  |  |  | 
 | Cost | Accuracy | Reliability | Damping | Score
Rail | 0.074 | 0.129 | 0.102 | 0.086 | 0.392
Linkage | 0.074 | 0.074 | 0.068 | 0.054 | 0.270
Force plate | 0.019 | 0.129 | 0.136 | 0.054 | 0.338
Decision |  |  |  |  | Rail
Sub-Function 1 –Final Selection

## Slide 69
Reliability |  |  |  |  | 
 | Rail | Linkage | Force plate | Row Sum | Norm Score
Rail | x | 4 | 2 | 6 | 0.333
Linkage | 2 | x | 2 | 4 | 0.222
Force plate | 4 | 4 | x | 8 | 0.444
Col. Score | 6 | 8 | 4 | 18 | 1
Damping |  |  |  |  | 
 | Rail | Linkage | Force plate | Row Sum | Norm Score
Rail | x | 4 | 4 | 8 | 0.444
Linkage | 2 | x | 3 | 5 | 0.278
Force plate | 2 | 3 | x | 5 | 0.278
Col. Score | 4 | 7 | 7 | 18 | 1
Continued

## Slide 70: Software Methodology
Identify Test Environment
Determine Performance Criteria
Plan & Design
Configure Test Environment
Implement Test Design
Run Tests
Analyze, finetune % Re-test